## Safety Equipment Tracker
SAFETY EQUIPMENT CERTIFICATION TRACKER
Proactive Recertification & Calibration Management ¦ Updated: April 2026
# | Equipment Name | Product No. | Batch / Serial No. | Category | Location | Last Certified | Certification Expiry | Days Until Expiry | Status | Action Required
1 | H2S Personal Detector | DET-H2S-001 | BT2024-001 | Gas Detector | Field Unit A | 2025-10-15 | 2026-10-15 | 186 | VALID | No action required
2 | H2S Personal Detector | DET-H2S-002 | BT2024-002 | Gas Detector | Field Unit A | 2025-10-15 | 2026-10-15 | 186 | VALID | No action required
3 | Multi-Gas Detector | DET-MG-001 | BT2024-010 | Gas Detector | Base Store | 2025-09-01 | 2026-03-01 | -42 | EXPIRED | Schedule recertification immediately
4 | Fire Extinguisher 9kg | EXT-9KG-001 | FX2023-101 | Fire Safety | Field Unit B | 2024-12-01 | 2026-12-01 | 233 | VALID | No action required
5 | Fire Extinguisher 9kg | EXT-9KG-002 | FX2023-102 | Fire Safety | Base Store | 2024-12-01 | 2026-12-01 | 233 | VALID | No action required
6 | Fire Extinguisher 4.5kg | EXT-45-001 | FX2024-201 | Fire Safety | Office | 2025-03-15 | 2026-03-15 | -28 | EXPIRED | Schedule recertification immediately
7 | Portable Gas Monitor | MON-PGM-001 | PM2024-055 | Gas Detector | Field Unit C | 2025-11-20 | 2026-05-20 | 38 | DUE SOON | Plan recertification
8 | Fall Arrest Harness | HAR-FA-001 | HA2024-301 | Fall Protection | Warehouse | 2025-07-10 | 2026-07-10 | 89 | DUE SOON | Plan recertification
9 | Self-Contained Breathing App. | SCBA-001 | SC2023-401 | Breathing Apparatus | Emergency Store | 2024-06-01 | 2026-06-01 | 50 | DUE SOON | Plan recertification
10 | Calibration Gas Cylinder | CAL-GAS-001 | CG2025-001 | Calibration Supply | Lab | 2025-12-01 | 2026-06-01 | 50 | DUE SOON | Plan recertification
11 | Radiation Dosimeter | RAD-DOS-001 | RD2024-501 | Radiation Safety | Field Unit A | 2025-08-15 | 2026-08-15 | 125 | VALID | No action required
12 | Ear Protection (Bulk Set) | PPE-EAR-001 | EP2025-601 | PPE | Base Store | 2025-01-01 | 2027-01-01 | 264 | VALID | No action required
SUMMARY DASHBOARD
Total Equipment Items | 12
Valid (Green) | 6
Due Soon (90 days) | 4
Expiring Soon (30 days) | 0
Expired | 2
Formulas:
Days Until Expiry = [Certification Expiry]-TODAY()

## PO Tracker
PROCUREMENT PURCHASE ORDER TRACKER — FY 2026
Operations & Logistics Division ¦ Base: Fort McMurray ¦ Currency: CAD
PO Number | Vendor Name | Description | Category | Date Raised | Date Required | PO Value (CAD) | Status | GRN Completed | Invoice Received | Days Open | Notes
PO-2026-001 | Northern Safety Supplies Ltd. | PPE Bulk Order — Q1 Restock | Safety | 2026-01-08 | 2026-01-22 | 4850 | Closed | Yes | Yes | 14
PO-2026-002 | Calibration Services Alberta | H2S Detector Calibration x6 | Maintenance | 2026-01-15 | 2026-02-01 | 2100 | Closed | Yes | Yes | 17
PO-2026-003 | MacLean Industrial Parts | Valve Spare Parts — Ball Valves | Spare Parts | 2026-01-20 | 2026-02-10 | 7320 | Closed | Yes | Yes | 21
PO-2026-004 | Praxair Canada Inc. | Calibration Gas Cylinders x4 | Lab Supplies | 2026-02-03 | 2026-02-20 | 980 | Closed | Yes | Yes | 17
PO-2026-005 | Wolseley Industrial | Pipe Fittings & Flanges | Spare Parts | 2026-02-10 | 2026-03-01 | 5640 | Closed | Yes | No | 19
PO-2026-006 | 3M Canada | Respiratory PPE Restock | Safety | 2026-02-18 | 2026-03-05 | 3210 | Closed | Yes | Yes | 15
PO-2026-007 | ASCO Valve Canada | ESD Solenoid Valves x3 | Maintenance | 2026-03-02 | 2026-03-25 | 8900 | GRN Pending | No | No | 41
PO-2026-008 | Grainger Industrial Supply | Warehouse Shelving Units | Facility | 2026-03-10 | 2026-04-05 | 6450 | In Transit | No | No | 33
PO-2026-009 | Clean Harbors Canada | Hazardous Waste Disposal | Compliance | 2026-03-20 | 2026-04-15 | 3780 | Approved | No | No | 23
PO-2026-010 | Wesco Electrical | Electrical Components — ESD Repair | Maintenance | 2026-04-01 | 2026-04-20 | 2250 | Pending Approval | No | No | 11
PO-2026-011 | Northern Safety Supplies Ltd. | Summer PPE Restock | Safety | 2026-04-05 | 2026-04-28 | 3990 | Pending Approval | No | No | 7
PO-2026-012 | Swagelok Alberta | Instrumentation Fittings | Spare Parts | 2026-04-08 | 2026-05-02 | 4400 | Draft | No | No | 4
TOTAL PO VALUE (ALL) | [5 empty] | 53870
Formulas:
Days Open = IF([Status]="Closed",[Date Required]-[Date Raised],TODAY()-[Date Raised])

## Ops Dashboard
MONTHLY OPERATIONS DASHBOARD — Q1 2026
Key Performance Indicators ¦ Fort McMurray Operations ¦ Jan – Mar 2026
KPI | Jan 2026 | Feb 2026 | Mar 2026 | Q1 Total | Target | Variance | Status
POs Raised | 12 | 14 | 11 | 37 | 40 | -3 | ⚠ Below Target
POs Closed | 11 | 13 | 9 | 33 | 36 | -3 | ⚠ Below Target
PO Value (CAD $000s) | 42.5 | 38.2 | 47.1 | 127.8 | 120 | 7.8 | ✔ On Track
Safety Incidents | 0 | 1 | 0 | 1 | 2 | 1 | ✔ On Track
Equipment Items Tracked | 48 | 50 | 52 | 52 | 50 | 2 | ✔ On Track
Certifications Renewed | 3 | 5 | 4 | 12 | 10 | 2 | ✔ On Track
Vendor POs on Time (%) | 91.6 | 85.7 | 90.9 | 89.4 | 90 | -0.6 | ⚠ Below Target
Journey Plans Submitted | 8 | 10 | 9 | 27 | 25 | 2 | ✔ On Track